## Summary
Sample Name | Measurement Date | Measurement Time | Thickness (cm) | Wafer Doping (cm-3) | Optical Constant | Specified MCD | Light Bias (Suns) | Analysis Mode | Lifetime at Spec. MCD | Jo (A/cm2) 25 C | Tau fit @ -NA | Ohms/sq | Ohm-cm | Max Suns | Traps | Max MCD | 1 Sun Implied Voc | Implied FF | Ref Cell Cal Const | Calibration A | Calibration B | Calibration C | Instrument Serial Number
BY_L2_e_pre_UV20 | 2025-04-03 | 9:40 | 0.015 | 1.563e+15 | 0.7 | 5000000000000000 | 0 | Generalized (1/1) | 603.442 | 3.1686e-14 | 2250.3327 | 194.2044 | 2.9131 | 44.9247 | 0 | 43166072244722784 | 0.69717 | 83.1143 | 0.011472 | 0.00024334 | 0.028343 | -0.93203 | 16-131464

## RawData
Time (s) | Photovoltage | Reference Voltage | Apparent CD | Tau (sec) | 1/Tau corrected | Minority Carrier Density | Implied Voc | Implied Suns
8e-05 | 1.8302 | 0.35025 | 14527971676543834 | 0 | 0 | 14527971676543834
0.00024 | 4.1084 | 0.50113 | 38763793620780536 | 0 | 0 | 38763793620780536
0.0004 | 4.4612 | 0.51537 | 43166072244722784 | 9.3244e-05 | 7631.4839 | 43166072244722784
0.00056 | 4.3704 | 0.47322 | 42016106593629704 | 9.1668e-05 | 7978.44 | 42016106593629704 | 0.79227 | 41.4066
0.00072 | 4.2401 | 0.43219 | 40386087180532912 | 9.469e-05 | 7853.3048 | 40386087180532912 | 0.79027 | 38.5302
0.00088 | 4.1092 | 0.39453 | 38773475852191776 | 9.9272e-05 | 7577.7483 | 38773475852191776 | 0.78822 | 35.2843
0.00104 | 3.9802 | 0.36004 | 37208639451221968 | 0.00010422 | 7296.3995 | 37208639451221968 | 0.78614 | 32.2511
0.0012 | 3.8536 | 0.32864 | 35695612172753084 | 0.00010938 | 7027.0269 | 35695612172753084 | 0.78406 | 29.4806
0.00136 | 3.7311 | 0.30034 | 34253543344444216 | 0.00011469 | 6771.1521 | 34253543344444216 | 0.78198 | 26.9796
0.00152 | 3.612 | 0.27458 | 32871416640302764 | 0.00012022 | 6524.2393 | 32871416640302764 | 0.77991 | 24.7005
0.00168 | 3.4958 | 0.25121 | 31542946446939552 | 0.00012591 | 6290.4265 | 31542946446939552 | 0.77784 | 22.6312
0.00184 | 3.3832 | 0.23004 | 30273581177535324 | 0.00013177 | 6067.5989 | 30273581177535324 | 0.77578 | 20.7548
0.002 | 3.2739 | 0.21068 | 29057969120503196 | 0.00013789 | 5850.2816 | 29057969120503196 | 0.77373 | 19.0367
0.00216 | 3.1679 | 0.19311 | 27894483517098740 | 0.00014419 | 5643.6095 | 27894483517098740 | 0.77168 | 17.4764
0.00232 | 3.0651 | 0.17722 | 26781892301623684 | 0.00015061 | 5448.7814 | 26781892301623684 | 0.76965 | 16.0637
0.00248 | 2.9656 | 0.1627 | 25717689683512448 | 0.00015728 | 5260.0985 | 25717689683512448 | 0.76763 | 14.7716
0.00264 | 2.8691 | 0.14947 | 24699300315734852 | 0.00016414 | 5079.5122 | 24699300315734852 | 0.76561 | 13.5935
0.0028 | 2.7752 | 0.13745 | 23721224923026276 | 0.00017114 | 4909.112 | 23721224923026276 | 0.7636 | 12.5216
0.00296 | 2.6846 | 0.12647 | 22788174895418256 | 0.00017838 | 4743.928 | 22788174895418256 | 0.7616 | 11.5407
0.00312 | 2.5967 | 0.11649 | 21893449731686700 | 0.00018573 | 4588.4012 | 21893449731686700 | 0.75961 | 10.6487
0.00328 | 2.5119 | 0.10731 | 21039811554441728 | 0.00019339 | 4435.9429 | 21039811554441728 | 0.75764 | 9.8281
0.00344 | 2.4293 | 0.098968 | 20218544373828420 | 0.00020113 | 4293.3662 | 20218544373828420 | 0.75566 | 9.0813
0.0036 | 2.3495 | 0.091276 | 19433178725492612 | 0.00020917 | 4153.8362 | 19433178725492612 | 0.7537 | 8.3929
0.00376 | 2.2716 | 0.084236 | 18674111732588728 | 0.00021736 | 4021.6852 | 18674111732588728 | 0.75173 | 7.7611
0.00392 | 2.1963 | 0.077832 | 17948285730637728 | 0.00022566 | 3896.7388 | 17948285730637728 | 0.74977 | 7.1853
0.00408 | 2.1238 | 0.071902 | 17257450974660498 | 0.00023438 | 3772.1303 | 17257450974660498 | 0.74784 | 6.6515
0.00424 | 2.0535 | 0.066513 | 16593433166205138 | 0.00024311 | 3656.2596 | 16593433166205138 | 0.74591 | 6.166
0.0044 | 1.985 | 0.061531 | 15952701353451054 | 0.00025208 | 3544.4929 | 15952701353451054 | 0.74397 | 5.7169
0.00456 | 1.919 | 0.056969 | 15341712200791240 | 0.00026124 | 3437.1156 | 15341712200791240 | 0.74206 | 5.3052
0.00472 | 1.8551 | 0.052795 | 14755126674148290 | 0.00027051 | 3335.3826 | 14755126674148290 | 0.74015 | 4.9276
0.00488 | 1.7929 | 0.048866 | 14188867301601220 | 0.00028028 | 3233.614 | 14188867301601220 | 0.73824 | 4.5732
0.00504 | 1.7328 | 0.045316 | 13646747441472492 | 0.00028994 | 3139.8124 | 13646747441472492 | 0.73634 | 4.252
0.0052 | 1.6738 | 0.042042 | 13119237996706118 | 0.00029968 | 3051.135 | 13119237996706118 | 0.73442 | 3.9547
0.00536 | 1.6172 | 0.038953 | 12617762687647518 | 0.00031024 | 2959.0296 | 12617762687647518 | 0.73252 | 3.6742
0.00552 | 1.5625 | 0.036208 | 12136013900219090 | 0.00032021 | 2878.456 | 12136013900219090 | 0.73064 | 3.4238
0.00568 | 1.5092 | 0.033593 | 11671146700285920 | 0.00033094 | 2795.5519 | 11671146700285920 | 0.72875 | 3.1859
0.00584 | 1.4574 | 0.031176 | 11223070186676218 | 0.00034187 | 2716.0311 | 11223070186676218 | 0.72685 | 2.9657
0.006 | 1.4074 | 0.028997 | 10793126585544226 | 0.00035249 | 2643.5723 | 10793126585544226 | 0.72497 | 2.7661
0.00616 | 1.3588 | 0.026864 | 10378141493270336 | 0.00036467 | 2563.4422 | 10378141493270336 | 0.72309 | 2.571
0.00632 | 1.312 | 0.02498 | 9982088390184740 | 0.00037601 | 2494.0827 | 9982088390184740 | 0.72122 | 2.3982
0.00648 | 1.2664 | 0.023224 | 9598707972141608 | 0.00038764 | 2426.7919 | 9598707972141608 | 0.71935 | 2.237
0.00664 | 1.2221 | 0.021579 | 9228248895950876 | 0.00039962 | 2361.0326 | 9228248895950876 | 0.71747 | 2.0862
0.0068 | 1.1793 | 0.02009 | 8873021583188350 | 0.00041125 | 2300.9245 | 8873021583188350 | 0.7156 | 1.9491
0.00696 | 1.1375 | 0.018627 | 8528539734330569 | 0.00042461 | 2234.3458 | 8528539734330569 | 0.71372 | 1.8145
0.00712 | 1.0969 | 0.017344 | 8196320323320458 | 0.0004366 | 2178.9257 | 8196320323320458 | 0.71184 | 1.6959
0.00728 | 1.0577 | 0.016131 | 7877267461952347 | 0.0004493 | 2122.6955 | 7877267461952347 | 0.70997 | 1.5839
0.00744 | 1.0196 | 0.015002 | 7568715189948221 | 0.00046222 | 2068.3955 | 7568715189948221 | 0.70809 | 1.4793
0.0076 | 0.98231 | 0.013966 | 7268647562606848 | 0.00047473 | 2018.7702 | 7268647562606848 | 0.70619 | 1.3832
0.00776 | 0.94641 | 0.012957 | 6981492800704070 | 0.00048915 | 1963.4655 | 6981492800704070 | 0.7043 | 1.2894
0.00792 | 0.91139 | 0.012056 | 6702903033297891 | 0.00050244 | 1915.7061 | 6702903033297891 | 0.70241 | 1.2052
0.00808 | 0.87758 | 0.011222 | 6435452038876578 | 0.00051569 | 1870.3957 | 6435452038876578 | 0.70052 | 1.1274
0.00824 | 0.84457 | 0.010387 | 6175679558074852 | 0.00053152 | 1818.0777 | 6175679558074852 | 0.69861 | 1.0496
0.0084 | 0.81248 | 0.009681 | 5924462040124246 | 0.00054418 | 1779.3488 | 5924462040124246 | 0.69669 | 0.9835
0.00856 | 0.78129 | 0.009003 | 5681516816996871 | 0.00055819 | 1737.922 | 5681516816996871 | 0.69477 | 0.91951
0.00872 | 0.75093 | 0.008344 | 5446243245758922 | 0.00057388 | 1693.2756 | 5446243245758922 | 0.69284 | 0.85732
0.00888 | 0.72183 | 0.007752 | 5221838651125469 | 0.0005888 | 1653.1053 | 5221838651125469 | 0.69092 | 0.80118
0.00904 | 0.69336 | 0.0072 | 5003293668487251 | 0.00060372 | 1614.8417 | 5003293668487251 | 0.68898 | 0.74867
0.0092 | 0.66574 | 0.006695 | 4792225946642854 | 0.00061781 | 1580.4894 | 4792225946642854 | 0.68703 | 0.70073
0.00936 | 0.63904 | 0.006207 | 4589109044634871 | 0.00063361 | 1543.3065 | 4589109044634871 | 0.68509 | 0.65431
0.00952 | 0.61297 | 0.005768 | 4391704209557109 | 0.00064811 | 1510.9386 | 4391704209557109 | 0.68312 | 0.61215
0.00968 | 0.58765 | 0.00534 | 4.2008e+15 | 0.00066444 | 1475.736 | 4.2008e+15 | 0.68114 | 0.57114
0.00984 | 0.56332 | 0.004929 | 4018024532024352 | 0.00068272 | 1437.9238 | 4018024532024352 | 0.67917 | 0.53167
0.01 | 0.53956 | 0.004563 | 3840334125676345 | 0.00069891 | 1406.3238 | 3840334125676345 | 0.67718 | 0.49639
0.01016 | 0.5165 | 0.004211 | 3.6686e+15 | 0.0007168 | 1372.7497 | 3.6686e+15 | 0.67517 | 0.46235
0.01032 | 0.49406 | 0.003895 | 3.502e+15 | 0.00073287 | 1344.145 | 3.502e+15 | 0.67315 | 0.43169
0.01048 | 0.4726 | 0.003606 | 3.3434e+15 | 0.00074877 | 1316.9609 | 3.3434e+15 | 0.67114 | 0.40338
0.01064 | 0.45134 | 0.003313 | 3.1868e+15 | 0.00076898 | 1283.5648 | 3.1868e+15 | 0.66907 | 0.37438
0.0108 | 0.43103 | 0.003049 | 3037695268692502 | 0.00078803 | 1253.6706 | 3037695268692502 | 0.66702 | 0.34824
0.01096 | 0.41179 | 0.002812 | 2.897e+15 | 0.00080682 | 1225.5036 | 2.897e+15 | 0.66501 | 0.32437
0.01112 | 0.39275 | 0.002582 | 2758155865880009 | 0.00082679 | 1196.8742 | 2758155865880009 | 0.66293 | 0.30137
0.01128 | 0.37439 | 0.0024 | 2.6248e+15 | 0.00083882 | 1180.7196 | 2.6248e+15 | 0.66085 | 0.28268
0.01144 | 0.35691 | 0.002205 | 2.4981e+15 | 0.00085911 | 1153.638 | 2.4981e+15 | 0.65879 | 0.26269
0.0116 | 0.34003 | 0.002002 | 2.3763e+15 | 0.00088554 | 1119.8851 | 2.3763e+15 | 0.65673 | 0.24242
0.01176 | 0.32364 | 0.001873 | 2.2583e+15 | 0.00089258 | 1111.8868 | 2.2583e+15 | 0.65464 | 0.22856
0.01192 | 0.30764 | 0.0017 | 2.1434e+15 | 0.00091934 | 1080.1057 | 2.1434e+15 | 0.65251 | 0.21062
0.01208 | 0.2927 | 0.001608 | 2.0364e+15 | 0.0009204 | 1079.5972 | 2.0364e+15 | 0.65044 | 0.19988
0.01224 | 0.27841 | 0.00147 | 1.9344e+15 | 0.00094449 | 1052.5621 | 1.9344e+15 | 0.64838 | 0.18502
0.0124 | 0.26432 | 0.001353 | 1.8341e+15 | 0.00096125 | 1034.7305 | 1.8341e+15 | 0.64627 | 0.17236
0.01256 | 0.25121 | 0.001267 | 1.7409e+15 | 0.00096839 | 1027.613 | 1.7409e+15 | 0.64421 | 0.1624
0.01272 | 0.23856 | 0.001159 | 1.6512e+15 | 0.00099147 | 1004.0784 | 1.6512e+15 | 0.64215 | 0.15045
0.01288 | 0.22646 | 0.001059 | 1.5657e+15 | 0.0010144 | 981.7362 | 1.5657e+15 | 0.64009 | 0.13944
0.01304 | 0.21488 | 0.001004 | 1.484e+15 | 0.0010135 | 983.036 | 1.484e+15 | 0.63803 | 0.13228
0.0132 | 0.20398 | 0.000897 | 1407197898355647 | 0.001054 | 945.4675 | 1407197898355647 | 0.63601 | 0.12061
0.01336 | 0.19358 | 0.000839 | 1334108577009879 | 0.0010621 | 938.5836 | 1334108577009879 | 0.634 | 0.11348
0.01352 | 0.18373 | 0.000758 | 1.265e+15 | 0.0010948 | 910.7155 | 1.265e+15 | 0.63202 | 0.10438
0.01368 | 0.17414 | 0.000687 | 1.1979e+15 | 0.0011233 | 887.8745 | 1.1979e+15 | 0.63 | 0.096337
0.01384 | 0.16531 | 0.000676 | 1.1361e+15 | 0.001099 | 907.7852 | 1.1361e+15 | 0.62806 | 0.093391
0.014 | 0.15665 | 0.000613 | 1.0758e+15 | 0.0011304 | 882.7573 | 1.0758e+15 | 0.62607 | 0.085975
0.01416 | 0.14877 | 0.000623 | 1.0209e+15 | 0.0010807 | 923.5966 | 1.0209e+15 | 0.62419 | 0.085336
0.01432 | 0.14108 | 0.000586 | 967326181531172 | 0.0010937 | 912.755 | 967326181531172 | 0.62227 | 0.079898
0.01448 | 0.13363 | 0.000513 | 9.1556e+14 | 0.0011503 | 867.9317 | 9.1556e+14 | 0.62032 | 0.071902
0.01464 | 0.12753 | 0.000485 | 8.7322e+14 | 0.0011628 | 858.7149 | 8.7322e+14 | 0.61866 | 0.06784
0.0148 | 0.12088 | 0.000418 | 8.2719e+14 | 0.0012334 | 809.6375 | 8.2719e+14 | 0.61678 | 0.060586
0.01496 | 0.11481 | 0.000445 | 7.8514e+14 | 0.0011433 | 873.6242 | 7.8514e+14 | 0.61498 | 0.062037
0.01512 | 0.10911 | 0.000423 | 7.4574e+14 | 0.0011516 | 867.4684 | 7.4574e+14 | 0.61323 | 0.058503
0.01528 | 0.10365 | 0.000369 | 7.0808e+14 | 0.0012214 | 817.9051 | 7.0808e+14 | 0.61147 | 0.052372
0.01544 | 0.098738 | 0.000381 | 6.7417e+14 | 0.0011735 | 851.3653 | 6.7417e+14 | 0.60983 | 0.051897
0.0156 | 0.094069 | 0.000348 | 6.4199e+14 | 0.0012092 | 826.3115 | 6.4199e+14 | 0.6082 | 0.047963
0.01576 | 0.089906 | 0.000348 | 6.1332e+14 | 0.0011786 | 847.8107 | 6.1332e+14 | 0.60669 | 0.047009
0.01592 | 0.085412 | 0.000347 | 5.824e+14 | 0.0011384 | 877.8641 | 5.824e+14 | 0.60499 | 0.046217
0.01608 | 0.081616 | 0.000307 | 5.5631e+14 | 0.0011938 | 837.1301 | 5.5631e+14 | 0.6035 | 0.042097
0.01624 | 0.077653 | 0.000302 | 5.2908e+14 | 0.0011844 | 843.8141 | 5.2908e+14 | 0.60188 | 0.040354
0.0164 | 0.074025 | 0.000287 | 5.0418e+14 | 0.0011827 | 845.1272 | 5.0418e+14 | 0.60033 | 0.038512
0.01656 | 0.071118 | 0.000289 | 4.8424e+14 | 0.0011598 | 861.8246 | 4.8424e+14 | 0.59905 | 0.037718
0.01672 | 0.06747 | 0.000293 | 4.5923e+14 | 0.0011103 | 900.347 | 4.5923e+14 | 0.59737 | 0.037366
0.01688 | 0.064756 | 0.000261 | 4.4064e+14 | 0.0011554 | 865.2103 | 4.4064e+14 | 0.59607 | 0.034454
0.01704 | 0.061926 | 0.000235 | 4.2126e+14 | 0.0012277 | 814.2459 | 4.2126e+14 | 0.59466 | 0.030998
0.0172 | 0.05876 | 0.000246 | 3.9959e+14 | 0.0011385 | 878.06 | 3.9959e+14 | 0.59303 | 0.031706
0.01736 | 0.056868 | 0.00024 | 3.8665e+14 | 0.001157 | 864.0815 | 3.8665e+14 | 0.59201 | 0.030191
0.01752 | 0.054002 | 0.000237 | 3.6706e+14 | 0.0011344 | 881.2757 | 3.6706e+14 | 0.59041 | 0.02923
0.01768 | 0.052301 | 0.000221 | 3.5544e+14 | 0.001153 | 867.1179 | 3.5544e+14 | 0.58943 | 0.02785
0.01784 | 0.049939 | 0.000217 | 3.393e+14 | 0.0011472 | 871.4941 | 3.393e+14 | 0.58802 | 0.026719
0.018 | 0.047772 | 0.00024 | 3.2451e+14 | 0.0010064 | 993.466 | 3.2451e+14 | 0.58668 | 0.029129
0.01816 | 0.046148 | 0.000186 | 3.1342e+14 | 0.0012026 | 831.3854 | 3.1342e+14 | 0.58563 | 0.023545
0.01832 | 0.043548 | 0.000202 | 2.9569e+14 | 0.0010823 | 923.8298 | 2.9569e+14 | 0.58389 | 0.024681
0.01848 | 0.042537 | 0.000192 | 288793023609879 | 0.0010898 | 917.453 | 288793023609879 | 0.58319 | 0.023939
0.01864 | 0.040395 | 0.000181 | 2.7419e+14 | 0.0011356 | 880.4841 | 2.7419e+14 | 0.58165 | 0.021813
0.0188 | 0.03837 | 0.000214 | 2.6039e+14 | 0.00096787 | 1033.0833 | 2.6039e+14 | 0.58013 | 0.024304
0.01896 | 0.037791 | 0.00017 | 2.5645e+14 | 0.0011412 | 876.1268 | 2.5645e+14 | 0.57969 | 0.0203
0.01912 | 0.036497 | 0.000192 | 2.4763e+14 | 0.0010101 | 989.8787 | 2.4763e+14 | 0.57866 | 0.022147
0.01928 | 0.034206 | 0.000159 | 2.3203e+14 | 0.0010979 | 910.758 | 2.3203e+14 | 0.57677 | 0.019093
0.01944 | 0.033127 | 0.000159 | 2.2469e+14 | 0.0010867 | 920.1649 | 2.2469e+14 | 0.57584 | 0.018679
0.0196 | 0.03267 | 0.000178 | 2.2158e+14 | 0.0010017 | 998.1936 | 2.2158e+14 | 0.57543 | 0.019983
0.01976 | 0.030995 | 0.000175 | 2.1018e+14 | 0 | 0 | 2.1018e+14 | 0.57391
0.01992 | 0.029459 | 8.6e-05 | 1.9974e+14 | 0 | 0 | 1.9974e+14 | 0.57245